Vidyasagar Metropolitan College

Tender No VMC/Office/F.S/04/22 dated 28/5/2022

Interested vendors can submit quotation in sealed envelope for supply and installation of 4 zone fire alarm system. Sealed envelopes containing quotation can be dropped at tender box situated near the glass door at new building entrance by 5 p.m of 03/6/2022. Vendors have to submit credentials for completion of similar job, copy of trade license and PAN card along with the quotation.

Interested vendors are allowed to attend opening of bids on 5.30 p.m on 03/6/2022 at Principal’s office.

Specification and details of the system:

|  |  |  |  |
| --- | --- | --- | --- |
| SI.  No | **Description of items** | Unit | Qty. |
|  | 4 Zone LCD/LED Display Micro-processor based Fire  Alarm Control Panel (Make: Agni) | NO. | 01 |
|  | 12V 7.2Ah Battery (Make: Exide/Sigma) | Nos. | 02 |
| 3 | Smoke Detector ( Make: System Sensor/Agni) | Nos. | 16 |
| 4 | Heat Detector ( Make: System Sensor/Agni) | Nos. | 04 |
|  | Manual Call Point ( Make: Agni) | Nos. | 02 |
|  | Metal Body 24V Sounder/Hooter (Make: Agni) | Nos. | 02 |
| 7 | 1 *sq* mm FRLS 2core cable | Mtr. | 250 |
|  | PVC Conduit Pipe | Mtr. | 200 |
| 9 | Installation Charge | Job i | |

Principal

Vidyasagar Metropolitan College