Vidyasagar Metropolitan College

Tender No VMC/Office/Ch.Lab/06/22 dated 28/5/2022

Interested and I.O.C/ H.P/B.P.C.L / Govt Oil company approved vendors can submit quotation in sealed envelope for installation of LPG gas pipe line for running approximately 20 numbers of Bunsen burners at 3rd floor chemistry laboratory.

The ERW-MS pipe (as per guideline of IS-6044 (part-I), 2013 should be used for pipeline with approximate 130 ft to 150 ft length & 15 mm diameter. Sealed envelopes containing quotation can be dropped at tender box situated near the glass door at new building entrance by 5 p.m of 03/6/2022.

Vendors have to submit credentials for completion of similar job , copy of trade license and PAN card along with the quotation.

Interested vendors are allowed to attend opening of bids on 5.30 p.m on 03/6/2022 at Principal’s office.

Principal

Vidyasagar Metropolitan College