Vidyasagar Metropolitan College

Tender No VMC/Office/Ch.Lab/07/22 dated 28/5/2022

Interested vendors can submit quotation in sealed envelope for installation of LPG gas cylinder (4 nos) storage room.

* The storage room will be of following dimension: 84” x 24” x42” made by 4 mm MS sheet.
* Ventilation should be present both upper and lower portion of both the doors
* Ventilation should be 1.5” x 6” with covering by SS Mesh of 10-11 SWG/PSI only
* Proper base foundation to be done to bear the weight of storage room and four commercial LPG Cylinders.

Sealed envelopes containing quotation can be dropped at tender box situated near the glass door at new building entrance by 5 p.m of 03/6/2022. Vendors have to submit credential of completion of similar job, copy of trade license and PAN card along with the quotation.

Interested vendors are allowed to attend opening of bids on 5.30 p.m on 03/6/2022 at Principal’s office.

Principal

Vidyasagar Metropolitan College